## Sheet1
HEAT EXCHANGER PLC DATA MAP
PLC ▶ PC | [6 empty] | PC ▶ PLC
ADDRESS |  |  | DESCRIPTION | SIZE | 자릿수 | 단위 | ADDRESS |  | DESCRIPTION | SIZE | 자릿수 | 단위
Analog Input | D1100 |  | TANK 온도PV | 1 WORD | 00.0 | ℃ | Analog | D1200 | CHEMICAL 온도 SET | 1 WORD | 00.0 | ℃
| D1101 |  | CHEMICAL SET 온도 리턴 | 1 WORD | 00.0 | ℃ |  | D1201 | CHEMICAL IN 온도 OFFSET | 1 WORD | 00.0 | ℃
| D1102 |  | CHEMICAL IN 온도 | 1 WORD | 00.0 | ℃ |  | D1202 | CHEMICAL OUT 온도 OFFSET | 1 WORD | 00.0 | ℃
| D1103 |  | CHEMICAL OUT 온도 | 1 WORD | 00.0 | ℃ |  | D1203 | Run / Stop(1:Run / 0:Stop)
| D1104 |  | FILTER IN 압력 | 1 WORD | 000 | kpa |  | D1204 | Watch Dog(일정 시간 0, 1 Swap)
| D1105 |  | FILTER OUT 압력 | 1 WORD | 000 | kpa |  | D1205 | SPARE
| D1106 |  | CHEMICAL IN 압력 | 1 WORD | 0.00 | kgf
| D1107 |  | Status(Run / Stop)
| D1108 |  | Watch Dog(일정 시간 0, 1 Swap)
| D1109 |  | SPARE
Alarm | D1110 | BIT 0 | Emergency Stop
|  | BIT 1 | TPR Alarm
|  | BIT 2 | Inverter Alarm
|  | BIT 3 | Tank Overtemp.(TH)
|  | BIT 4 | Leak
|  | BIT 5 | Compressor Overload
|  | BIT 6 | Compressor Low pressure
|  | BIT 7 | Compressor High pressure
|  | BIT 8 | Tank Level low
|  | BIT 9 | Door #1 open
|  | BIT 10 | Door #2 open
|  | BIT 11 | Door #3 open
|  | BIT 12 | Door #4 open
|  | BIT 13 | Door #5 open
|  | BIT 14 | Temp. High limit
|  | BIT 15 | Temp. Low limit
Alarm | D1111 | BIT 0 | PCW Pressure low
|  | BIT 1 | CDA Pressuer low
|  | BIT 2 | Temp. Upper limit DEV Alarm
|  | BIT 3 | Temp. Reached time Alarm
|  | BIT 4 | Chemical in low pressure
|  | BIT 5 | Filter in high pressure
|  | BIT 6 | Filter out high pressure
|  | BIT 7 | Temp. Warning
|  | BIT 8 | MAIN MC OFF
BIT 9
BIT 10
BIT 11
BIT 12
BIT 13
BIT 14
BIT 15